## Sheet1
| Pre starta simulation period-> | Testing sequence
HP Conditions (repeated for every SG test) |  | day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7
| Weather (heating/cooling) | Extreme winter day sunny | Extreme winter day cloudy | Typical winter day sunny | Typical interm day cloudy | Typical summer day | Extreme radiation summer day | Extreme temperature summer day
Degree hour daily
Temp avg
Temp min
Temp max
Solar rad daily (kWh/day)
| DHW | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative interm patern | Repetative interm patern | Repetative summer patern
m avg (l/s)
m max (l/s)
m min (l/s)
m sum (l/day)
Grid
Single tarif
Price (Avg)
SG Test 1 ( +7days) | HDO | Repetative HDO pattern | Repetative HDO pattern | Repetative HDO pattern | Repetative HDO pattern | Repetative HDO pattern | Repetative HDO pattern | Repetative HDO pattern
Price Avg
low tarif
high tarif
SG Test 2 ( +7days) | RTP - low volatility | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative interm patern | Repetative interm patern | Repetative summer patern | Repetative summer patern
price avg
price min
price max
| Related CO2 - low volatility | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative interm patern | Repetative interm patern | Repetative summer patern | Repetative summer patern
CO2 intesity avg
CO2 intesity min
CO2 intesity max
SG Test 3 ( +7days) | RPT - high volatility
| price avg | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative interm patern | Repetative interm patern | Repetative summer patern | Repetative summer patern
| price min | Repetative winter patern | Repetative winter patern | Repetative winter patern | Repetative interm patern | Repetative interm patern | Repetative summer patern | Repetative summer patern
price max
CO2 intesity avg
CO2 intesity min
CO2 intesity max
CO2 - low volatility
CO2 intesity avg
CO2 intesity min
CO2 intesity max
Related price